Peritoneal Access and Creation of penumoperitoneum for Laparoscopic Surgery

Zameer Pasha

Abdomen, termed Pandora’s Box is, certainly a temple of surprises. Gaining access to create space for operability with gas or without is the ﬁrst and foremost step in minimal access surgery.

Any act well begun is half done. And this ought to be done sans complications with safety being the prime concern. The creation of pneumoperitoneum brings out panoramic view of the entire abdomen in all its glory and clarity with precision. Our aim is to achieve this view and space for our surgical dissection, suturing and achieve homeostasis, with completion of procedure to everyone’s satisfaction with success.

The patient has to be relaxed. Every step has to be forethought, and carried out with clinical precision and tactile ﬁnesse.

The avalanche of literature describing iatrogenic accidents during creation of pneumoperitoneum with veress needle and trocars is to create awareness only and knowledge of pros and cons is essential to tread safe and sure paths to success.

There are two techniques for creation of Pneumoperitoneum: 1. Closed and 2. Open technique. (Hassan method)

I. Closed Technique

- Veress Needle: - This is spring loaded central slim trocar and the needle traverses the rectus sheath and enters the peritoneum. The inner trocar retracts as the needle encounters resistance and springs back on entering the peritoneal cavity. This spring loaded mechanism has to be conﬁrmed to be in working orderprior to initial insertion and also the patency of lumen by checking the gas flow through the needle.

- Both disposable and reusable (nondisposable) Veress needles are available. The former is a one-place plastic design (external diameter, 2mm; 14 gauge; length, 70 or 120 mm), whereas the latter is made of metal and can be disassembled. Check the Veress needle for patency by flushing saline through it. Then occlude the tip of the needle and push fluid into the needle under moderate pressure to check for leaks. Replace a disposable Veress needle if it leaks; check the screws and connections on a reusable Veress needle.

FIG. 1					           FIG. 2				         FIG. 3

Next, push the blunt tip of the Veress needle against the handle of a knife or a solid, flat surface to be certain that the blunt tip will retract easily and will spring forward rapidly and smoothly. A red indicator in the hub of the disposable needle can be seen to move upward as the tip retracts.

Place the supine patient in a 10-to-20 degree head-down position. If there are no scars on the abdomen, choose a site of entry at the superior of inferior border of the umbilical ring. There are several ways to immobilize the umbilicus and provide resistance to the needle. The inferior margin of the umbilicus can be immobilized by pinching the superior border of the umbilicus between the thumb and forefinger of the nondominant hand and rolling the superior margin of the umbilicus in a cephalad direction. Alternatively, in the anesthetized patient, a small towel clip can be placed on either side of the upper margin of the umbilicus; this makes it a bit easier to stablize the umbilicus and lift it upward.

FIG. 4				            FIG. 5					      FIG. 5

Next, make a curvilinear incision in the midline of the superior or inferior margin of the umbilicus. With the dominant hand, grasp the shaft (not the hub) of the Veress needle like a dart and gently pass the needle into the incision – either at a 45-degree caudal angle to the abdominal wall (in the asthenic or minimally obese patient) or perpendicular to the abdominal wall in the markedly obese patient. There will be a sensation of initial resistance, followed by a give, at two points. The first point occurs as the needle meets and traverses the fascia and the second as it touches and traverses the peritoneum. As the needle enters the peritoneal cavity, a distinct click can often be heard as the blunt-tip portion of the Veress needle springs forward into the peritoneal cavity.

Connect a 10-ml syringe containing 5 ml of saline to the Veress needle. There are five tests that should be performed in sequence to confirm proper placement of the needle.

- Hiss Test:-This is the sound of air flowing into the negative pressure of the peritoneum through the Veress needle as accentuated by elevation of the abdominal wall, when the tip of the needle is correctly positioned. Unfortunately, the listener’s ear has to be close to the top of the Veress needle to hear the “hiss”, and theatre noise often precludes this.

- Aspiration Test:- A Syringe filled with saline connected to the Veress needle is used next. Fluid instilled into the peritoneal cavity will flow away from the tip of the needle and cannot be aspirated back into the syringe. If fluid is aspirated back, an incorrect needle tip placement is likely. In addition, is bowel content or blood is aspirated, the incorrect position of the needle tip is again obvious.

- Negative Pressure Test:- The insufflation tubing from the insufflator should next be connected to the Veress needle. Monitoring the peritoneal pressure prior to any insufflation at this point will reveal a slight negative pressure easily accentuated by abdominal wall elevation.

- Early Insufflation Pressures:- The next clue to correct positioning is monitoring of the insufflation pressure which should not exceed 8mm Hg at 11 liter/min. The static pressure must not exceed 3mm Hg. Pressures of > 15mm Hg with a low or no flows of gas indicate incorrect needle tip position.

- Volume Test: - In the average adult the volume required to distend the peritoneum adequately, and which creates a pressure of 8-10 mm Hg is about 2.5 liters of gas. If the static pressure as measured by the insufflator reaches these pressures with less than 1 liters of gas, suspicion should arise that the needle tip is incorrectly placed. If this is extra peritoneal then it will often be accompanied by asymmetric anterior abdominal wall distension.

Monitor the patient’s pulse and blood pressure closely for a vagal reaction during the early phase of insufflation. If the pulse falls precipitously, allow the CO2 to escape, administer atropine, and reinstitute insufflation slowly after a normal heart rate has returned.

After 1 litre of CO2 has been insufflated uneventfully, increase the flow rate on the insufflator to > 6 litre/min. Once the 15 mm Hg limit is reached, the flow of CO2 will be cut off. At this point approximately 3 to 6 litre of CO2 should have been instilled into the abdomen. When percussed, the abdomen should sound as through you are thumping a ripe watermelon.

II. Alternate Entry Sites

Prior abdominal surgery mandates care in selection of the initial trocar site and may prompt consideration of use of the open technique. If the previous incisions are well away from the umbilicus, the umbilical site may still be used, with either a closed or open technique.

A midline scar in the vicinity of the umbilicus increases the risk that adhesions will be tethering intra-abdominal viscera to the peritoneum at that level. In this situation, the closed technique may still used, but it is safer to use an alternate insertion site. This site should be well away from the previous scar and lateral to the rectos muscles, to minimize the thickness of abdominal wall traversed and avoid the inferior epigastria vessels.

In general, patients with prior low vertical midline scars should be approached through a trocar placed at the lateral border of the rectus muscle in either the left or right upper quadrant. With previous upper vertical midline incision or multiple incisions near the midline, the right lower quadrant site may be appropriate. Alternatively, it is possible to perform an open technique with the Hasson Canula.

a) Upper Abdomen

In the upper abdomen, the subcostal regions are good choices. Carefully percuss the positions of the liver and spleen to avoid inadvertent injury to these organs, and decompress the stomach with a nasogastric or orogastric tube.

b) Lower Abdomen

The right lower quadrant is preferable to the left because many individuals have congenital adhesions between the sigmoid colon and anterior abdominal wall. Decompress the bladder when using a closed insertion technique at, or caudal to the umbilicus.

III. Insufflation of Peritoneal Cavity

Carbon dioxide is the standard gas used for most operative laparoscopy. It does not support combustion, after absorption from the peritoneum it is readily excreted via the lungs and, if accidentally injected directly into a blood vessel resulting in carbon dioxide embolism, this is more easily treated than air or nitrous oxide embolism (especially if the rate of insufflation is kept at 11/min). Of maximal importance in the setting of operative laparoscopy is the equipment used to deliver the carbon dioxide to the peritoneum. Optimum exposure is obtained with a constant penumoperitoneum at 10-15 mm Hg pressure. Operative laparoscopy entails the use of multiple cannula and the frequent changing of instruments. Gas leakage is significant and the early generation of insufflators could only cope with automatic flow rates of 11/min, which could be manually increased to 31/min. This resulted in repeated fluctuations of carbon dioxide pressure with loss of view, and incurred delays necessitated by refilling of the peritoneal cavity. This problem was further compounded when the lavage / suction equipment was used.

The latest generation of automatic electronic insufflators has resolved this problem. This insufflator is capable of automatic flow rates of up to 81 liters/min. Operative procedures without these machines are tedious and time-consuming. In addition, it provides good monitoring of the pressure within the abdomen, which can also be pre-selected and adjusted. Maintenance of a low intra-abdominal pressure is especially useful in women with lax abdominal walls following pregnancy, where very adequate visualization can be obtained at pressures of 100 mm Hg. The benefit will be a decrease in postoperative shoulder-tip pain caused by diaphragmatic stretching.

If during the induction of the initial penumoperitoneum the needle tip is felt to be incorrectly positioned the following steps should be taken. If the pressure test, volume test or aspiration tests suggest extraperitoneal insufflation then the needle is simply withdrawn and re-inserted. The number of passes required should be recorded in the operation note. If arterial blood is aspirated back then simple withdrawal of the needle and re-insertion is reasonable. However, if blood fountains back up the Veress needle, major vessel injury is likely and a laparotomy should be performed. If bowel content is aspirated, then the needle is withdrawn and re-inserted, in another site if local adhesions are suspected. In this event, it is important to inspect the area of bowel injury when the laparoscope is first introduced. If the hole in the bowel consists of a simple puncture, the administration of antibiotics and local lavage / suction followed by careful postoperative observation may be all that is required. More extensive injuries, e.g. when the bowel has been tangentially lacerated, require immediate suture repair either laparoscopically or by open operation.

In all cases an initial scan of the peritoneum and organs in the region of Veress needle insertion is mandatory. Any sign of retropertioneal haemorrhage is suggestive of major vessel injury. Pneumo-omentum, carbon dioxide in the bowel mesentery, or retroperitoneum can simply be left to resorb.

IV. Test for Adhesions

A 12 cm long, 0.8 mm needle attached to a saline-filled syringe is introduced perpendicularly through the abdominal wall in the region where initial trocar insertion is envisaged. As the needle is advanced, gas is slowly aspirated, and continuous bubbling is observed in the syringe. This will stop suddenly when visceral peritoneum is touched. The level of the needle at the skin is then marked with a finger on the shaft of the needle, and bubbling of the gas is observed as the needle is withdrawn until bubbling stops again. The distance for which the needle has been withdrawn to the point where bubbling stopped gives an accurate idea of the distance between visceral and parietal peritoneum. By repeating the procedure at 45 degree a mental picture of the underlying carbon dioxide cushion can be built up. The presence of mental or bowel adhesions is suggested by erratic variation of the size of the carbon dioxide cushion at cushion at different angles. This guide indicates an area for safe introduction of the laparoscope trocar. This test is not always required. It is particularly useful in patients with previous laparotomy.

V. Placement of First Cannula -> Blind Entry

The site for insertion of the first trocar which holds the laparoscope is usually around the umbilicus. This should be altered as and when the sounding test suggests underlying adhesion of bowel or momentum in most cases straightforward insertion is possible. Two approaches are possible here: direct or “Z” routes. If a pyramidal trocar is used this can only be introduced with safety directly through the linear alba.

The “Z” technique, which is only possible with the traumatic conical system, entails advancement of the trocar / cannula through an initial subcutaneous path before passage of the instrument through the rectus abdominis. The advantages of the “Z” technique include avoidance of the weak linea alba and the creation of a shutter type closure after withdrawal of the trocar. The disadvantage, in the context of laparoscopic cholecystectomy, is enhanced difficulty of extraction of the gallbladder through the “trap-door” particularly when the stone load is large. A direct tract (through the linea alba) is therefore preferable. In any event the defect in the linea alba or rectus sheath should be approximated by suture at the end of the procedure to decrease the risk of subsequent incisional hernia formation.

FIG. 7

In patients likely to have adhesions, the risk and severity of organ trauma is reduced if a 5.5mm cannula is inserted in the first instance and an in initial scan of the underlying omentum, bowel and retroperitoneum is made to exclude injury. Once the surgeon is satisfied with the position and absence of latrogenic damage, the small cannula is replaced by a 11mm cannula using the trocar dilation system.

When the possibility of significant adhesions is high as in patients after complicated or multiple previous surgical intgerventions, or when the sounding test suggests bowel or omentum is adherent to the parietal peritoneum, insertion of the cannula tip should be done under vision. This eminently safe technique, which is to be highly recommended in these difficult cases, is accomplished by a 5.5mm cannula with a beveled tip which is inserted to just beyond the linea alba, such that its tip lies in the extraperitoneal fat if the direct route is used, or the rectus abdominis muscle if the “Z” technique of insertion is adopted. The central trocar is then withdrawn and replaced with the 5 mm forward-viewing telescope connected to the light source. Under vision, and by gentle rotation, the cannula is advanced through the muscle and extraperitoneal fat until the peritoneum is reached. Intact penumoperitoneum free of adhesions will appear as a translucent membrane with clearly visible small blood vessels on its surface.

By contrast, in the presence of adherent bowel or omentum the peritoneum assumes an opaque appearance on transillumination with the telescope. When this is encountered, the position of the cannula tip is altered until clear translucent peritoneum is visualized. This provides a “safe window” for entry of the cannula into the peritoneal cavity. This is achieved by cannula rotation and gentle pressure from the wrist. Once the surgeon is satisfied that the 5.5 mm cannula is correctly positioned, it may then be replaced with the 11 mm cannula using the trocar dilation technique. Finally, if the surgeon has no experience with the above techniques or when they cannot be used with safety (which is rare), open dissection down to the peritoneum should be considered (open laparoscopy). Only a small opening in the peritoneum is made to limit gas leakage. Special cannula, e.g. Hassan, is available for this purpose.

FIG. 8

II “Open” Technique With Hasson Cannula

FIG. 9							FIG. 10

The open Hasson cannula provides the surgeon with an alternative, extremely safe method to enter the abdomen, especially in a patient who has previously undergone intraabdominal procedures. In these patients in particular, the blind insertion of a trocar would be fraught with then potential for in jury to the abdominal viscera. Some surgeons use the open cannula routinely in all patients for placement of the initial umbilical trocar.

The open cannula consists of three pieces: a coneshaped sleeve, a metal or plastic sheath with a trumpet or flap valve, and a blunt-tipped obturator. On the sheath or on the cone-shaped sleeve can be moved up and down the sheath until it is properly positioned; it can then be tightly affixed to the sheath. The two fascial sutures are then wrapped tightly around the struts, thereby firmly seating the cone-shaped sleeve into the fasciotomy and peritoneotomy. This creates an effective seal so the pneumoperitoneum will be maintained.

Make a 2 to 3 cm transverse incision at the selected entry site (in the quadrant of the abdomen farthest away from any of the preexisting abdominal scars or in the periumbilical skin crease if there has been no prior midline surgery) Dissect the subcutaneous tissue with scissors, and identify and incise the underlying fascia. Gently sweep the preperitoneal fat off the peritoneum in a very limited area. Grasp the peritoneum between hemostats and open sharply. This incision should be just long enough to admit the surgeon’s index finger. Confirm entry into the abdominal cavity visually and by digital palpation, to ensure the absence of adhesions in the vicinity of the incision. Place an absorbable suture on either side of the fascial incision. Some surgeons place the fascial sutures first, use theses to elevate the fascia, and then make the fascial incision.

Insert the completely assembled open cannula through then peritoneotomy with the blunt tip of the obturator protruding. Once the obturator is well within the abdominal cavity, advance the conical collar of then open cannula down the sheath until it is firmly seated in the peritoneal cavity. Secure the collar to the sheath with the setscrew. Next, twist or tie the two separate fascial sutures around the struts on the sheath or collar of the open cannula, thereby fixing the cannula in place. Connect the CO2 line to the sidearm port of the cannula and withdraw the blunt-tipped obturator. Establish pneumoperitoneum with the insufflator set a high flow. Increase intra-abdominal pressure to 12 to 15 mm Hg. With facility, it is possible to establish pneumoperitoneum just as fast (or faster) with the open technique as can be done with Veress needle and “closed” trocar passage. Indeed, many surgeons consider this to be the safest way to establish pneumoperitoneum.

If a Hasson cannula is not available, a standard cannula from an open trocar can be placed by an open technique. In this case, place two concentric pursestring monofilament sutures in the midline fasica and make an incision into the free peritoneal cavity through the center of the purse strings. Keep both sutures long, and pass the tails of each suture through a 3 cm segment of a red rubber catheter, thereby creating two modified Rummel toumiquests. Place a standard laparoscopic sheath (with sharp-tipped trocar removed), cinch the pursestring sutures against the sheath and secure by placing a clamp on the red rubber catheter. At the conclusion of the operation, close the fasica by simply tying the sutures.

Beware of Compliations

FIG. 11

- Bleeding from abdominal wall

- Cause and Prevention: - This problem usually manifests itself as a continuous stream of blood dripping from one of the trocars, and/or as blood seen on the surface of the abdominal viscera or omentum. Less commonly, delayed presentation as a hematoma of the abdominal wall or rectus sheath may occur. This source of bleeding is usually the inferior epigastric artery or one of its branches. Abdominal wall hemorrhage may be controlled with a variety of techniques, including application of direct pressure with the operating port, open or laparoscopic suture ligation, or tamponade with a Foley’s catheter inserted into the peritoneal cavity.

- Recognition and management:- To determine the point at which the vessel is injured, cantilever the trocar into each of four quadrants until the flow of blood is noted to stop. Then place a suture in such a manner that it traverses the entire border of the designated quadrant. Specialized devices have been made that facilitate placement of a suture, but are not always readily available. The needle should enter the abdomen on one side of the trocar and exit on the other side, thereby encircling the full thickness of the abdominal wall. This suture can either be passed percutaneously using a large curved No. 1 absorbable suture as monitored endoscopically, or using a straight Keith needle passed into the abdomen and then back out using laparoscopic grasping forceps. The suture, which encircles the abdominal wall, is tied over a gauze bolster to tamponade the bleeding site.

2. Visceral Injury

- Cause and Prevention:- Careful observation of the steps enumerated above will minimize the chance of visceral injury. However, placement of the Veress needle is a blind maneuver, and even with extreme care puncture of a hollow viscus is still possible.

- Recognition and Management:- If aspiration of the Veress needle returns yellowish or cloudly fluid, the needle is likely in the lumen of the bowel. Due to the small caliber of the needle itself, this is usually a harmless situation. Simply remove the needle and repuncture the abdominal wall. After successful insertion of the laparoscope, examine the abdominal viscera closely for significant injury.

If, however, the laparsocopic trocar itself lacerates the bowel, there are four possible courses of action, depending on the surgeon’s experience: formal open laparotomy and bowel repair or resection; laparoscopic suture repair of the bowel injury; laparoscopic resection of the injured bowel and reanastomosis; minilaparotomy, using an incision just large enough to exteriorize the injured bowel segment for repair or resection and reanastomosis (similar to the technique of laparoscopic – assisted bowel resection). If possible, leave the trocar in place to assist in identifying the precise site of injury.

3. Major Vascular Injury

- Cause and Prevention:- Major vascular injury can occur when the sharp tip of the Veress needle or the trocar nicks or lacerates a mesenteric or retroperitoneal vessel. It is rare when the open (Hasson Cannula) technique is used.

- Recognition and Management:- If aspiration of the Veress needle reveals bloody fluid, remove the needle and repuncture the abdomen. Once access to the abdominal cavity has been achieved successfully, perform a full examination of the retroperitoneum to look for an expanding retroperitoneal hematoma.

If there is a central or expanding retroperitoneal hematoma, laparotomy with retroperitoneal exploration is mandatory to assess for and repair major vascular injury. Hematomas of the mesentery and those located laterally in the retroperitoneum are generallyn innocuous and may be observed. If during closed insertion of the initial trocar there is a ruch of blood through the trocar with associated hypotension, leave the trocar in place (to provide some tamponade of hemorrhage and assist in identifying the tract) and immediately perform laparotomy to repair what is likely to be an injury to the aorta, vena cava, or iliac vessels.

References

- Baadsgaard SE, Bille S.Egeblad K.Major vascular Injury during gynecologic laparoscopy: report of a case and review of published cases. Acta Obstet Gynecol Scand 1989; 68: 283-285.

- Chapron CM, Pierre F.Lacroix S.Quer4leu D, Lansa J, Dubuission J-B .Major vascular injuries during gynecologic laparoscopy. J Am coll Surg 1997; 185:461-465.

- Deziel DJ, Millikan KW, Economou SG, Doolas A, Ko ST, Arin MC. Complications of laparoscopic cholectystectomy: a national survery of 4,292 hospsitals and an analysis of 77,604 cases. Am J Surg 1993; 165:9-14.

- Oshinsky GS, Smith Ad,. Laparoscopic needle and trocars: an overview of designs and complications. J.Laparoendosc Surg 1992;2:117-125

- Riza ED, Deshmukh As. An improved method of securing abdominal wall bleeders during laparoscopy. J.Laparoendosc Surg 1995;5:37-40.

- Soper NJ.Laparoswcopic cholecystectomy. Curr Probl Surg 1991;28:585-655.

- Soper NJ.Odem RR, Clayman RV, McDougall EM, eds. Essentials of Laparoscopy, ST.Louis: Quality Medical Publishing 1994.

- Wolfe WM, basic R.Instruments and methods. Obstet Gynecol 1990;75:456-457.